# ABL Data Report: Perley Offshore Collection - 2025

## Objectives (from Work Plan Agreement)

- Extract and quantify 140 eDNA samples.

- Apply qPCR assays Atlantic halibut, Atlantic cod and Atlantic wolffish to a subset of (113) extracted samples.

- Develop metabarcoding libraries for COI-1 (Cytochrome oxidase I) and 12S (ribosomal RNA) for a total of 4 libraries.

- Sequence COI and 12S libraries on MiSeq.

- Provide raw sequencing data and corresponding sample index information.

- Provide ABL Report upon completion of the project.

## 1.  Sample Extraction & Quantification

A total of 126 samples were received as part of the 2025 sample set with 14 add-in samples from AZMP 2024 (final n=140).  All were SmithRoot filters preserved in ethanol.  These were a collection of samples from 1 station at KIPCA (Kluscap Indigenous Protected and Conserved Area, just northwest of Sydney), 38 stations along St. Ann’s Bank (SAB) and 5 stations from the AZMP taken in 2024. There were 140 samples (at least three sample replicates per station), and 8 Field Blanks (see Table 1) extracted and quantified.

For the extractions, all sample filters were cut in half and processed according to ABL’s eDNA extraction protocol. This particular protocol utilized the QIACube Connect (Qiagen) and a modified version of the Qiagen DNeasy Blood and Tissue Kit (240). Each set of extractions consisted of 11 samples and one Extraction Negative (ENEG). All extracted samples, Field Blanks, and extraction negatives (ENEGs) were quantified using the Qubit Fluorometer with the dsDNA High Sensitivity Assay Kit (ThermoFisher).

The highest eDNA concentrations were observed in samples from the KIPCA_01 station (see Table 1). The lowest concentrations were observed in the samples collected from station GUL_04 (AZMP).

All ENEGs had DNA concentrations that were below quantifiable limits (BQL) for the Qubit Fluorometer, and considered to be 0 ng/µL. All but one Field Blank had low but detectable DNA concentrations* (Table 1).

Table 1: The number of eDNA filter samples and Field Blanks processed from each station, as well the average eDNA concentration of samples by station.

| Station | Collection | Preservative | No. of Replicates | No. of Field Blanks | Aver. eDNA Sample Conc. (ng/µL) | Field Blank Conc. (ng/µL)* |
| --- | --- | --- | --- | --- | --- | --- |
| BBL_04 | AZMP | Ethanol | 2 | 1 | 2.48 | 0.052 |
| BBL_06 | AZMP | Ethanol | 2 | 0 | 0.5225 | N/A |
| GUL_04 | AZMP | Ethanol | 4 | 1 | 0.428 | N/A |
| LL_07 | AZMP | Ethanol | 2 | 0 | 0.483 | N/A |
| LL_09 | AZMP | Ethanol | 2 | 0 | 0.2045 | N/A |
| KIPCA_01 | KIPCA | Ethanol | 3 | 0 | 4.34 | N/A |
| CURDO_01 | SAB | Ethanol | 3 | 0 | 1.4 | N/A |
| CURDO_02 | SAB | Ethanol | 3 | 0 | 2.63 | N/A |
| CURDO_03 | SAB | Ethanol | 3 | 0 | 2.36 | N/A |
| CURDO_04 | SAB | Ethanol | 3 | 1 | 1.52 | 0.19 |
| CURDO_05 | SAB | Ethanol | 2 | 0 | 1.59 | N/A |
| CURDO_06 | SAB | Ethanol | 3 | 0 | 1.32 | N/A |
| CURDO_07 | SAB | Ethanol | 3 | 0 | 0.7 | N/A |
| CURDO_09 | SAB | Ethanol | 3 | 1 | 1.20 | 0.45 |
| CURDO_10 | SAB | Ethanol | 6 | 0 | 2.32 | N/A |
| CURDO_10 | SAB | Ethanol | 3 | 0 | 2.12 | N/A |
| CURDO_11 | SAB | Ethanol | 3 | 0 | 2.14 | N/A |
| DEEP_01 | SAB | Ethanol | 3 | 0 | 1.48 | N/A |
| DEEP_02 | SAB | Ethanol | 3 | 0 | 0.98 | N/A |
| SAB_01 | SAB | Ethanol | 3 | 0 | 1.97 | N/A |
| SAB_02 | SAB | Ethanol | 3 | 0 | 2.27 | N/A |
| SAB_03 | SAB | Ethanol | 3 | 0 | 2.92 | N/A |
| SAB_04 | SAB | Ethanol | 3 | 0 | 2.03 | N/A |
| SAB_05 | SAB | Ethanol | 3 | 0 | 2.21 | N/A |
| SAB_06 | SAB | Ethanol | 3 | 0 | 1.77 | N/A |
| SAB_07 | SAB | Ethanol | 3 | 0 | 2.39 | N/A |
| SAB_08 | SAB | Ethanol | 3 | 0 | 2.15 | N/A |
| SAB_08 | SAB | Ethanol | 3 | 0 | 1.96 | N/A |
| SAB_09 | SAB | Ethanol | 3 | 0 | 0.75 | N/A |
| SAB_10 | SAB | Ethanol | 3 | 1 | 1.89 | 0.28 |
| SAB_11 | SAB | Ethanol | 3 | 0 | 2.44 | N/A |
| SAB_12 | SAB | Ethanol | 3 | 0 | 1.92 | N/A |
| SAB_13 | SAB | Ethanol | 3 | 1 | 2.28 | 1.62 |
| SAB_14 | SAB | Ethanol | 3 | 0 | 1.01 | N/A |
| SAB_15 | SAB | Ethanol | 3 | 0 | 1.73 | N/A |
| SAB_17 | SAB | Ethanol | 3 | 0 | 1.84 | N/A |
| SAB_18 | SAB | Ethanol | 3 | 0 | 1.88 | N/A |
| SAB_19 | SAB | Ethanol | 3 | 0 | 0.85 | N/A |
| SAB_20 | SAB | Ethanol | 3 | 0 | 0.85 | N/A |
| Scatarie_10 | SAB | Ethanol | 3 | 0 | 1.15 | N/A |
| Scatarie_4 | SAB | Ethanol | 3 | 0 | 0.99 | N/A |
| Scatarie_5 | SAB | Ethanol | 3 | 0 | 1.06 | N/A |
| Scatarie_6 | SAB | Ethanol | 3 | 0 | 1.09 | N/A |
| SCATARIE_NEW_ | SAB | Ethanol | 3 | 1 | 1.70 | 0.39 |

## 2.  Application of qPCR assays and Internal Positive Control (IPC)

## Assays for three species, Atlantic cod (Gadus morhua), Atlantic halibut (Hippoglossus hippoglossus), and Atlantic Wolffish (Anarhichas lupus), were applied to a selected 113 samples this year, including Field Blanks and 13 ENEGs. They were processed in 384-well and 96-well plate formats (where suitable). See Table 2 for assay details.

Table 2.  Primer and probe sequence information for the qPCR assays. The fluorophore and quencher are included for the probes. (Optimized assay conditions were tested by ABL*.)

| Primer/Probe |  | Sequence (5’ to 3’) |  |  |  | Amplicon Size |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Gadmor_F15076 |  | TTC GCA CCT AAT TTA CTC GGA G |  |  |  | 80 bps |  |
| Gadmor_R15155 |  | TCG GGC TTA ACA TGA GGT GG |  |  |  |  |  |
| Gadmor_P15102 |  | /FAM/-AGA TAA TTT CAC CCC TGC TAA CCC CAT C-/BHQ1/ |  |  |  |  |  |
| Hal_qF |  | TTC ATC TAC TCT TTC TTC ACG |  |  |  | 151 bps |  |
| Hal_qR |  | AAT AGG GCT AGG GAT GCT AA |  |  |  |  |  |
| Hal_qP |  | /FAM /-TCA GAC TCC GAC AAA GTT CCC T-/ |  |  |  |  |  |
| Al_CytB_F |  | CCC TAC TGC TCA AAG AAA GGA GAT TTT AAC TC |  |  |  | 92 bps |  |
| Al_CytB_R |  | TGA ATA CCA TTG AAA TGG TTA AAA TAA ATA CAT GGT GAT A |  |  |  |  |  |
| Al_CytB_P |  | /6FAM/TGC GCG TAT GTA ACT AAT CAT GTA TGT ACT TAG TGC AT/ MGBNFQ/ |  |  |  |  |  |
| Assay | Target Region |  | TA | Primer/Probe Concentration | LOD/LOQ (copies/reaction) | Reference |
| GadmorCYB_02 (G. morhua) | mtDNA-cytb |  | 60°C | Gadmor_F15076: 400nM Gadmor_R15155: 800nM Gadmor_P15102: 300nM | LOD: 1.5 LOQ: 14 | Knudsen et al. (2018) |
| Hal_q (H. hippoglossus) | mtDNA-cytb |  | 62°C | Hal_qF: 750nM Hal_qR: 750nM Hal_qP: 250nM | LOD: 1.5 LOQ: 11 | Dufault et al. (2021) |
| Al_CytB (A. lupus) | mtDNA-cytb |  | 60°C | Al_CytB_F: 800nM Al_CytB_R: 600nM Al_CytB_P: 250nM | LOD: 3 LOQ: 11 | Chevrinais and Parent (2023) |

The qPCR cycling conditions were as follows:

- 95°C, 10 mins

- 50 cycles of:

  - 95°C, 30 seconds

  - 60°C or 62°C*, 60 seconds (*reading)

*NOTE: The assays were optimized using TaqPath ProAmp 2X Master Mix (Applied Biosystems) during the previous year (project APC0264) However, there was observed amplification in the No Template Controls (NTC) for the Atlantic cod assay (GadmorCYB_02). This assay underwent additional optimization to eliminate the erroneous amplification curves. By switching to PerfeCTa qPCR ToughMix (Low ROX) (QuantaBio), no further amplification was observed in the NTCs.

We used the epMotion 5073 (Eppendorf) to transfer the qPCR master mix and the eDNA samples in triplicate to the 384-well plates. The remaining samples and field blanks were run on a 96-well plate and these were plated manually. For application of the IPC assay, the T4 DNA primers and probe (VIC) were used. These were included in the same qPCR master mix as the A. lupus (FAM). The IPC was used to test for PCR inhibition.

The Standards were developed from a synthetic DNA fragment (gBlock) of the specific species assay mtDNA-cytb region (Table 3). Serial dilutions of the gBlocks were created and used for the standard curves added to the qPCR plate. The standards were plated manually, in triplicate, and ranged from 105 (100,000 copies/µL) to 100 (1 copy/µL). The NTCs were also added manually, in triplicate. The Standards and NTCs were used to assess the quality of the qPCR run. The qPCR was run on the QuantStudio 7 Flex (ThermoFisher) and analyzed using the QuantStudio Real-Time PCR Software.

Table 3. The gBlocks used for qPCR standard curves.

| gBlock | Sequence (5’ to 3’) |
| --- | --- |
| G. morhua | TTC GCA CCT AAT TTA CTC GGA GAT CCA GAT AAT TTC ACC CCT GCT AAC CCC ATC GTT ACC CCA CCT CAT GTT AAG CCC GAA TGA TAT TTC TTG TTT GCC TAT GCC ATC TTA CGC TCT ATT CCA AGC |
| H. hippoglossus | TTC ATC TAC TCT TTC TTC ACG AAA CTG GCT CAA ACA ACC CGA CCG GGC TAA ACT CAG ACT CCG ACA AAG TTC CCT TTC ACC CCT ACT TCA CTT ACA AGG ACC TCT TAG GCTT TGC AGT CCT TCT TAC TGC ATT AGC ATC CCT AGC CCT ATT |
| A. lupus | CCC TAC TGC TCA AAG AAA GGA GAT TTT AAC TCC TAC CCC TAA CTC CCA AAG CTA GGA TTC TGG GCT GCG CTA TGC CTT GCG CGT ATG TAA CTA TAT CAT GTA TGT ACT TAG TGC ATA TAT GTA TTA TCA CCA TGT ATT TAT TTT AAC CAT TTC AAT GGT ATT CAA GGG CGC CGC GGG CCC GG |

All CT values for the qPCRs were provided in the file “APC0287 Final qPCR Results_12-Nov-25.xlsx”.  The T4-IPC results showed that there was no evidence of PCR inhibition detected in any of the samples.  There was no detection of the target species in any of the ENEGs or NTCs, which gives confidence that there was no contamination at the extraction or processing levels.

The three target species were “Not Detected” for all Field Blanks.

Results were interpreted based on the “Targeted qPCR Detection of Aquatic Species results interpretation framework” (Gulf Lab and ZM working group; see Fig. 1).  The qPCR results were first analyzed at the sample level, whereby reviewing the qPCR technical replicates per sample.  A sample was “Detected” if there was amplification in all three technical replicates. If any sample was flagged as “Inconclusive” (amplification in ≤ 2 technical replicates), the assay was repeated for that sample, as well as the other samples within that station. At the sample level (after redos, not including blanks or negatives), the results were as follows:

| Target | Detected | Inconclusive | Not Detected |
| --- | --- | --- | --- |
| A. lupus | 16 | 52 | 45 |
| G. morhua | 19 | 59 | 35 |
| H. hippoglossus | 0 | 3 | 110 |

Figure 1:  The qPCR results interpretation framework used to determine the presence or absence of the target species among sample replicates and station.

Next the results were analyzed at the station level, which looked at amplification in all sample replicates within that station (See Fig. 1). If the target was “Detected” in ≥ 1 sample, the result was “Detected” for that station. If the target was “Inconclusive” in > 1 sample, the result was also “Detected” for that station. “Inconclusive” on only 1 sample, that result remained “Inconclusive”.  The target was considered “Not Detected” if a sample/station had no instances of amplification in any replicate. The final qPCR results interpretations were summarized in Table 4 (excludes ENEGs and Field Blanks). Note that sites identified as “Inconclusive” infer the inability to confidently determine the absence or presence of the target species.

Table 4: The final qPCR results interpretation at the station level for all three target species. from applying IPC assay and Atlantic salmon qPCR target assay on all extracted samples. The above framework (Figure 1) was used to determine presence/absence at the sample level and sample-level results were used to determine station-level results. This is generally the reporting level.

| Station | A. lupus cytb | G. morhua cytb | H. hippoglossus cytb |
| --- | --- | --- | --- |
| KIPCA_01 | Not Detected | Detected | Not Detected |
| SAB_07 | Detected | Detected | Inconclusive |
| SAB_08 | Detected | Detected | Not Detected |
| SAB_04 | Detected | Detected | Not Detected |
| SAB_03 | Detected | Detected | Not Detected |
| SAB_02 | Detected | Detected | Not Detected |
| SAB_06 | Detected | Not Detected | Not Detected |
| SAB_05 | Detected | Detected | Not Detected |
| CURDO_10 | Detected | Detected | Not Detected |
| CURDO_11 | Detected | Detected | Not Detected |
| CURDO_01 | Inconclusive | Detected | Not Detected |
| CURDO_04 | Detected | Detected | Not Detected |
| CURDO_07 | Inconclusive | Detected | Not Detected |
| SAB_09 | Inconclusive | Detected | Not Detected |
| SAB_14 | Detected | Detected | Not Detected |
| SAB_15 | Detected | Detected | Not Detected |
| SAB_19 | Inconclusive | Detected | Not Detected |
| SAB_20 | Detected | Detected | Not Detected |
| Scatarie_4 | Detected | Detected | Not Detected |
| Scatarie_10 | Detected | Inconclusive | Not Detected |
| Scatarie_6 | Not Detected | Detected | Not Detected |
| Scatarie_5 | Detected | Detected | Not Detected |
| SAB_10 | Not Detected | Detected | Not Detected |
| SAB_11 | Not Detected | Detected | Inconclusive |
| SAB_17 | Detected | Detected | Not Detected |
| SAB_18 | Not Detected | Detected | Inconclusive |
| SAB_13 | Detected | Detected | Not Detected |
| SAB_08 | Detected | Detected | Not Detected |
| CURDO_02 | Detected | Detected | Not Detected |
| CURDO_10 | Detected | Detected | Not Detected |
| CURDO_03 | Detected | Detected | Not Detected |
| CURDO_06 | Detected | Not Detected | Not Detected |
| CURDO_09 | Inconclusive | Not Detected | Not Detected |
| SCATARIE_NEW_ | Detected | Detected | Not Detected |
| DEEP_01 | Not Detected | Not Detected | Not Detected |
| DEEP_02 | Not Detected | Not Detected | Not Detected |

## 4.  Develop metabarcoding libraries for COI and 12S loci

A total of 153 eDNA samples, including field and extraction negative controls, were randomized to reduce PCR and sequencing biases, and divided into two libraries (76 and 77 samples each). COI and 12S libraries used PCR primers and cycling programs adapted from Lacoursière-Roussel et al. (2018) and He et al. (2023), respectively (Table 5).

For PCRs, we used custom fusion primers (IDT) with Illumina adaptors and unique barcodes on both forward and reverse strands, enabling single-step PCR amplification and direct sequencing. PCRs were performed in triplicate for all samples. Each 25 µL reaction contained 3 µL DNA, 0.5 µL each of forward and reverse fusion primers, 8.5 µL H₂O, and 12.5 µL Multiplex Master Mix (QIAGEN), using locus-specific thermal cycling programs (Table 5). Replicate PCR products for each sample were pooled and screened for amplification success using a TapeStation 4200 system with D1000 ScreenTapes (Agilent).

Generally, real eDNA samples showed positive amplification at both COI and 12S loci, while field negative controls showed no or very weak amplification, and all extraction negative controls showed no amplification. One sample, eDNATube PER25_42, showed very weak PCR amplification at both loci, which could suggest that this sample may actually be a field blank given its position in the metadata; however, a note in the metadata states, “filter looks like it had nothing on it”.

Good quality PCR products were then purified using AxyPrep MAG PCR Clean-up beads (Axygen), following the manufacturer’s protocol. Purified PCR products were quantified using the AccuClear Ultra High Sensitivity dsDNA Quantitation kit (Biotium), then all samples in a library were pooled in roughly equimolar amounts. For COI libraries, 50 ng DNA per sample was pooled (up to maximum 20 µL volume; 10 µL for field and extraction negative controls). For 12S libraries, 20 ng DNA per sample was pooled (maximum 20 µL; 10 µL for negative controls), due to lower PCR product concentrations. Pooled libraries were purified and size-selected using AMPure XP beads (Beckman Coulter) to remove DNA fragments < 200 bp in length and chemical impurities.

Final library quality was assessed using D1000 High Sensitivity ScreenTape for the TapeStation 4200 system (Agilent), and library concentration was measured using the NEBNext Library Quant kit for Illumina (New England Biolabs) on a QuantStudio 7 qPCR instrument (Applied Biosystems), following the manufacturer’s protocol.

Table 5: PCR specifications for COI and 12S metabarcoding

| Metabarcoding Gene Target | Forward Primer (Reference) | Forward Primer Sequence | Reverse Primer (Reference) | Reverse Primer Sequence | PCR program |
| --- | --- | --- | --- | --- | --- |
| Cytochrome c oxidase, subunit I (COI) (Lacoursière-Roussel et al., 2018) | mlCOIintF (Leray et al., 2013) | GGWACWGGWTGAACWGTWTAYCCYCC | jgHCO2198 (Geller et al., 2013) | TAIACYTCIGGRTGICCRAARAAYCA | Step 1) 95°C for 15 min Step 2*) 95°C for 30 s 54°C for 90 s 72°C for 60 s *35 cycles of step 2 Step 3) 72°C for 10 min |
| 12S ribosomal RNA (12S) (He et al., 2023) | 12S_248F (He et al., 2022) | CGTGCCAGCCACCGCGGTT | Mifish-U-R (Miya et al., 2015) | CATAGTGGGGTATCTAATCCCAGTTTG | Step 1) 95°C for 5 min Step 2*) 95°C for 30 s 50°C for 30 s 72°C for 45 s *40 cycles of step 2 Step 3) 72°C for 10 min |

## 5.  COI and 12S library sequencing on the MiSeq

Completed metabarcoding libraries were sequenced on the MiSeq platform (Illumina) using the v3 (600-cycle, paired-end) kit for COI and v2 (500-cycle, paired-end) kit for 12S libraries (Table 6).

For COI sequencing, libraries were prepared to a final concentration of 14 pM, with a 15% spike-in of 14 pM PhiX control DNA, which were concentrations determined from previous sequencing that were successful. For the COI-A library, the sequence data metrics were overall good. The cluster density of 1013 ± 18 K/mm² is at the low end of the target range of ~1000-1200 K/mm², however the high number of clusters passing filter of 84.10 ± 14.25% suggests DNA cluster generation was good. The proportion of high quality sequencing reads (>Q30) was 86.06%, which indicates good sequence data quality. The total sequence data yield for COI-A was 13.54 Gb.

The sequencing metrics for the COI-B library were similar to library COI-A. The DNA cluster density of 993 ± 19 K/mm² is very slightly lower than COI-A and just below the low end of the target range, however the very high number of clusters passing filter of 88.11 ± 1.73% indicates good DNA cluster generation. The sequence read quality score >Q30 (high quality) was 85.99%, which indicates good sequence data quality and is nearly identical to the quality of COI-A sequence data. The total sequence data yield for COI-B was 13.80 Gb - slightly more than COI-A -, which, despite the slightly lower DNA cluster density than COI-A, is likely due to the higher number of DNA clusters passing filter.

Library 12S-A was made to a final concentration of 7 pM with a 20% spike-in of 7 pM PhiX control DNA, which are values determine by previous projects to yield good sequencing results. The sequence data metrics for 12S-A were overall good, although the cluster density of 704 ± 19 K/mm² is at the low end of the target range of ~700-900 K/mm² for v2 MiSeq kits. The very high number of clusters passing filter of 94.58 ± 0.85% indicates DNA cluster generation was good. The proportion of high quality sequencing reads (>Q30) was 88.08%, which indicates very good sequence data quality overall. The total sequence data yield for 12S-A was 7.08 Gb, which is lower than typical and corresponds to the lower cluster density.

Based on the lower cluster density of library 12S-A, library 12S-B was made to a final concentration of 7.5 pM with a 20% spike-in of 7.5 pM PhiX control DNA. The sequence data metrics for 12S-A were overall good. DNA cluster density was slightly greater at 715 ± 44 K/mm², but still towards the lower end of the target range. The high number of clusters passing filter of 89.87 ± 5.2% indicates good DNA cluster generation. The proportion of high quality sequencing reads (>Q30) was lower than 12S-A  at 80.78%, but is still a good proportion of high quality data. The sequence data yield for 12S-B was 7.25 Gb, marginally higher than 12S-A, which is reflective of the higher concentration of input library and higher DNA cluster density.

Table 6. Summary of sequencing run parameters and data metrics

| Library | MiSeq Reagent Kit (Chemistry) | Library/PhiX Concentration (pM) | PhiX Spike-in (%) | Cluster Density (K/mm²) | Clusters Passing Filter (%) | Reads >Q30 (%) | Data Yield (Gb) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| COI-A | v3 (600-cycle, paired-end) | 14 | 15 | 1013 ± 18 | 84.10 ± 14.25 | 86.06 | 13.54 |
| COI-B | v3 (600-cycle, paired-end) | 14 | 15 | 993 ± 19 | 88.11 ± 1.73 | 85.99 | 13.80 |
| 12S-A | v2 (500-cycle, paired-end) | 7 | 20 | 704 ± 19 | 94.58 ± 0.85 | 88.08 | 7.08 |
| 12S-B | v2 (500-cycle, paired-end) | 7.5 | 20 | 715 ± 44 | 89.87 ± 5.2 | 80.78 | 7.25 |

## 6.  Provide Raw Sequencing Data

The sequence data for the two COI libraries and two 12S libraries were retrieved from the MiSeq, and both the sequence data and metadata were uploaded to the shared “Perley Offshore Collection” project page in MS Teams, and can be found in the folder “2025 Perley Offshore Collection Results”.

## Conclusions

##### Extract & quantify 140 eDNA Samples

- 140 samples (SmithRoot filters preserved in ethanol) from SAB were provided to the ABL:

  - 126 were from the Perley Offshore survey 2025 and an additional 14 were from AZMP 2024.

- All samples were extracted from half-filters using Qiagen’s DNeasy Blood and Tissue kit for the QIAcube, with 13 Extraction Negatives being generated.  The remaining extracted eDNA and remaining half filters were archived in ethanol at -80°C; details can be found in the ABL database (ABLDNA_ptran.accdb).

- The DNA was quantified using the Qubit 1x dsDNA HS Assay for the Qubit v4.

##### Apply assays to a subset of 113 samples

- The assays were applied to a subset of 113 samples (including 5 Field Blanks) and 13 ENEGs.

- The IPC was applied to all samples with the A. lupus assay. No evidence for PCR inhibition was found.

- The presence of A. lupus was detected at 23 of the 35 stations screened (**CURDO_10 was sampled twice) and inconclusive at 5 stations.

- G. morhua was detected at 29 of the 35 stations**. There was 1 inconclusive result at station Scatarie_10.

- There were no confident detections of H. hippoglossus at any of the stations, but there were 3 stations with inconclusive results (SAB_07, SAB_11 and SAB_18).

- Sample PER25-98 was discarded prior to extraction (discussed with Nick) as thought to have not been used – this may have been an error (unknown). As a result, only 2 samples were analyzed for station CURDO_02.

##### Develop libraries for COI and 12S and sequence on the MiSeq

- Two metabarcoding libraries were generated, containing 77 and 76 samples each, for both COI and 12S genetic loci, for a total of 4 libraries.

- Sequence data metrics indicate very high quality data was obtained for all four libraries, although all libraries yielded lower than typical cluster density, ultimately leading to slightly lower than typical data yields (Gb).

- The raw sequencing data and metadata for all four libraries were uploaded to the Teams project page “Perley Offshore Collection”.

## References

Chevrinais, M., and Parent, G.J. (2023). A validated targeted assay for environmental DNA detections of the Atlantic wolffish (Anarhichas lupus). Conservation Genetics Resources 15, 59–66. https://doi.org/10.1007/s12686-023-01302-w

Dufault, M.N., Olson, Z.H., Mellone, D.M., Flanders, K.R., and Ono, K.A. (2021). Flatfish may be underestimated in the diet of gray seals (Halichoerus grypus). Canadian Journal of Zoology 99(3), 227-234. https://doi.org/10.1139/cjz-2020-0145.

Geller, J., Meyer, C., Parker, M., and Hawk, H. (2013). Redesign of PCR primers for mitochondrial cytochrome c oxidase subunit I for marine invertebrates and application in all-taxa biotic surveys. Molecular Ecology Resources 13, 851-861.

He, X., Jeffery, N.W., Stanley, R.R.E., Hamilton, L.C., Rubidge, E.M., and Abbott, C.L. (2023). eDNA metabarcoding enriches traditional trawl survey data for monitoring biodiversity in the marine environment. ICES Journal of Marine Science 80, 1529-1538.

He, X., Stanley, R.R.E., Rubidge, E.M., Jeffery, N.W., Hamilton, L.C., Westfall, K.M., Gilmore, S.R., Roux, L-M.D., Gale, K.S.P., Heaslip, S.G., et al. (2022). Fish community surveys in eelgrass beds using both eDNA metabarcoding and seining: implications for biodiversity monitoring in the coastal zone. Canadian Journal of Fisheries and Aquatic Sciences 79, 1335–1346.

Knudsen, S.W.,  Ebert, R.B., Hesselsøe, M., Kuntke, F., Hassingboe, J., Mortensen, P.B., Thomsen, P.F., Sigsgaard, E.E., Hansen, B.K., Nielsen, E.E., and Møller, P.R. (2019). Species-specific detection and quantification of environmental DNA from marine fishes in the Baltic Sea. Journal of Experimental Marine Biology and Ecology 510, 31-45. https://doi.org/10.1016/j.jembe.2018.09.004.

Lacoursière-Roussel, A., Howland, K., Normandeau, E., Grey, E.K., Archambault, P., Deiner, K., Lodge, D.M., Hernandez, C., Leduc, N., and Bernatchez, L. (2018). eDNA metabarcoding as a new surveillance approach for coastal Arctic biodiversity. Ecology and Evolution 8, 7763-7777.

Miya, M., Sato, Y., Fukunaga, T., Sado, T., Poulsen, J.Y., Sato, K., Minamoto, T., Yamamoto, S., Yamanaka, H., Araki, H., et al. (2015). MiFish, a set of universal PCR primers for metabarcoding environmental DNA from fishes: detection of more than 230 subtropical marine species. Royal Society Open Science 2, 150088.